## DE
Lesson Plan
Name of Faculty : Vivek Gandhi
Discipline : I&C
Semester : 3rd sem
Subject : DE
Lesson Plan Duration : 15 weeks(from 7 Sept 2020 to24 Dec 2020)
Work Load (lecture/practical)per week (in hours) : Lectures- 03, practical- 03
Week | Theory |  | Practical
| Lecture Day | Topic | Practical Day | Practical Topic
1 | 1 | Distinction between analog and digital signal. | 1 | Verification and interpretation of truth tables for AND, OR, NOT NAND, NOR and Exclusive OR (EXOR) and Exclusive NOR (EXNOR) gates
| 2 | Applications and advantages of digital signals. | 2
| 3 | Binary, octal and hexadecimal number system | 3
2 | 4 | Conversion from decimal and hexadecimal to binary and vice-versa. | 4 | Realisation of logic functions with the help of NAND or NOR gates
| 5 | Binary addition and subtraction including binary points. | 5
| 6 | 1’s and 2’s complement method of addition/subtraction. | 6
3 | 7 | Concept of code, weighted and non-weighted codes | 7 | To design a half adder using XOR and NAND gates and verification of its operation, Construction of a full adder circuit using XOR and NAND gates and verify its operation
| 8 | Examples of 8421, BCD, excess-3 and Gray code | 8
| 9 | Concept of parity, single and double parity and error detection | 9
4 | 10 | Assignment 1 | 10 | All files are checked
| 11 | Concept of negative and positive logic | 11
| 12 | Definition, symbols and truth tables of NOT, AND, OR, NAND, NOR, EXOR Gates, NAND and NOR as universal gates. | 12
5 | 13 | Introduction to TTL and CMOS logic families | 13 | Viva Voce 1
| 14 | Revision of sessional test 1 | 14
| 15 | Sessional test 1 | 15
6 | 16 | Postulates of Boolean algebra, De Morgan’s Theorems. | 16 | Verification of truth table for positive edge triggered, negative edge triggered, level triggered IC flip-flops (At least one IC each of D latch , D flip-flop, JK flip-flops).
| 17 | Implementation of Boolean (logic) equation with gates | 17
| 18 | Karnaugh map (upto 4 variables) | 18
7 | 19 | Simple application in developing combinational logic circuits | 19 | Verification of truth table for encoder and decoder ICs, Mux and DeMux
| 20 | Half adder and Full adder circuit, design and implementation. | 20
| 21 | 4 bit adder circuit | 21
8 | 22 | Four bit decoder circuits for 7 segment display and decoder/driver ICs. | 22 | All files are checked
| 23 | Basic functions and block diagram of MUX and DEMUX with different ICs | 23
| 24 | Basic functions and block diagram of Encoder | 24
9 | 25 | Concept and types of latch with their working and applications | 25 | Viva Voce 2
| 26 | Operation using waveforms and truth tables of RS, T, D, Master/Slave JK flip flops. | 26
| 27 | Difference between a latch and a flip flop | 27
10 | 28 | Assignment 2 | 28 | To design a 4 bit SISO, SIPO, PISO, PIPO shift registers using JK/D flip flops and verification of their operation.
| 29 | Revision of sessional test 2
| 30 | Sessional test 2 | 30
11 | 31 | Introduction to Asynchronous and Synchronous counters | 31 | To design a 4 bit ring counter and verify its operation
| 32 | Binary counters | 32
| 33 | Divide by N ripple counters, Decade counter, Ring counter | 33
12 | 34 | Introduction and basic concepts including shift left and shift right. | 34 | All files are checked
| 35 | Serial in parallel out, serial in serial out, parallel in serial out, parallel in parallel out. | 35
| 36 | Universal shift register | 36
13 | 37 | Working principle of A/D and D/A converters | 37 | Use of Asynchronous Counter ICs (7490 or 7493)
| 38 | Stair step Ramp A/D converter, Dual Slope, Successive Approximation A/D Converter | 38
| 39 | Binary Weighted, R/2R ladder D/A converter | 39
14 | 40 | Applications of A/D and D/A converter | 40 | All files are checked
| 41 | Memory organization, classification of semiconductor memories (RAM, ROM, PROM, EPROM, EEPROM) | 41
| 42 | Static and dynamic RAM, Introduction to 74181 ALU IC | 42
15 | 43 | Assignment 3 | 43 | Viva Voce 3
| 44 | Revision of sessional test 3 | 44
| 45 | Sessional test 3 | 45

## TSC
Lesson Plan
Name of Faculty : Anil Kumar
Discipline : I&C
Semester : 3rd sem
Subject : TSC
Lesson Plan Duration : 15 weeks(from 7 Sept 2020 to 24 Dec 2020)
Work Load (lecture/practical)per week (in hours) : Lectures- 03, practical- 02
Week | Theory |  | Practical
| Lecture Day | Topic | Practical Day | Practical Topic
1 | 1 | Defination of Transducer, Classification of Transducer | 1 | Study of strain gauge and measurement of strain for a given sample
| 2 | Selection Criteria of Transducer | 2
| 3 | Characteristics of Transducer
2 | 4 | Construction, working Principle, Advantage and Disadvantage, Application of Potentiometer | 3 | Study of piezoelectric pressure transducer
| 5 | Strain Gauage, Hot Wire anemometer | 4
| 6 | Resistive Temperature Transducer (RTD, Thermistor)
3 | 7 | Pick-up | 5 | Study of RTD (Resistance Temperature detector)
| 8 | Assignment 1 | 6
| 9 | Revision of 1 and 2 chapter
4 | 10 | Construction, working Principle, Advantage and Disadvantage, Application of LVDT | 7 | All files are checked
| 11 | RVDT | 8
| 12 | Electromagnetic Pick-up
5 | 13 | Inductive Microphone | 9 | Viva Voce 1
| 14 | Revision of 3 chapter
| 15 | Revision of sessional test 1 | 10
6 | 16 | Sessional test 1 | 11 | Study of thermistor and Measurement of temperature
| 17 | Construction, working Principle, Advantage and Disadvantage, Application of Capacitive Pick –Up
| 18 | Condenser/Capacitor microphone | 12
7 | 19 | Differntional Capacitor Pick-up | 13 | Study of calibration of LVDT
| 20 | Revision of 4 chapter
| 21 | Assignment 2 | 14
8 | 22 | Construction, working Principle, Advantage and Disadvantage, Application of Piezoelectric Transducer | 15 | Viva Vice 2
| 23 | Seismic Pick-up | 16
| 24 | Revision of sessional test 2
9 | 25 | Revision of sessional test 2 | 17 | Study of capacitive transducer and measurement of angular displacement
| 26 | Sessional test 2
| 27 | Accelerometer | 18
10 | 28 | Digital Transducer –Shaft Encoders | 19 | Study of magnetic pick up
| 29 | Carbon / Resistive Microphone | 20
| 30 | Revision of chapter 5
11 | 31 | Revision of chapter 5 | 21 | Study and draw the characteristics of a capacitance transducer
| 32 | Linearization
| 33 | Conversion of Voltage to Frequency | 22
12 | 34 | Conversion of Frequency to Voltage | 23 | Study of thermocouple
| 35 | Conversion of Voltage to Current | 24
| 36 | Conversion of Current to Voltage
13 | 37 | Filtering and Impedance Matching | 25 | To study and draw the characteristics of LDR, Photo diode, Photo transistor, Capacitance transducers
| 38 | Revision of chapter 6 | 26
| 39 | Revision of chapter 6
14 | 40 | Assignment 3 | 27 | All files are checked
| 41 | Seminar
| 42 | Seminar | 28
15 | 43 | Revision of sessional test 3 | 29 | Viva Voce 3
| 44 | Sessional test 3
| 45 | Revision | 30

## TMI
Lesson Plan
Name of the Faculty: Shivani
Discipline : Instrumentation and Control
Semester : 3rd
Subject : Testing and measuring instruments (TMI)
Lesson Plan Duration : 7 September - 24 December 2020
Week | Theory |  | Practical
| Lecture Day | Topic | Practical Day | Practical Topic
1 | 1 | Need & importance of measurement | 1 | To identify and study of indicating, integrating and recording instruments.
| 2 | Typical application of instrumentation system | 2
| 3 | Classification of instruments | 3
2 | 4 | Review of units, dimensions and standards | 4 | Extension of range of a given voltmeter and an ammeter.
| 5 | Assignment of first unit | 5
| 6 | Measurement of resistance: Ohmmeters | 6
3 | 7 | Meggers | 7 | Use of analog and digital multimeter for measurement of voltage, current (a.c/d.c) and resistanc
| 8 | Wheatstone Bridge | 8
| 9 | Potentiometer method | 9
4 | 10 | Measurement of inductance and capacitance by : Hay’s bridge | 10 | All file are checked
| 11 | Measurement of inductance and capacitance by : Maxwell Bridge | 11
| 12 | Wagner earth devices | 12
5 | 13 | Assignment of second unit | 13 | To measure power, power factor in a 1-phase circuit, using wattmeter and power
| 14 | Construction and working principle, applications of Ammeter and voltmeter | 14
| 15 | Moving Iron | 15
6 | 16 | Permanent Magnet Moving Coil Meters | 16 | Viva voce
| 17 | Thermocouple type | 17
| 18 | Electrostatic type | 18
7 | 19 | Rectifier type | 19 | Study the constructional details, working of a meggar and measurement of insulation resistance of a given motor.
| 20 | Multimeter: Principle of multimeter | 20
| 21 | Measurement of d.c. voltage and a.c. voltage using multimeter | 21
8 | 22 | Assignment of third unit | 22 | To measure the value of earth resistance using earth tester.
| 23 | Working principle, construction and applications of dynamometer type watt meter | 23
| 24 | Power measurement methods 2 watt meter or 3 watt meter | 24
9 | 25 | Working principle, construction and applications of energy meter | 25 | To measure frequency, power, power factor in a single-phase circuit, using digital frequency meter, wattmeter and power factor meter and to verify results with calculations.
| 26 | Assignment of fourth unit | 26
| 27 | Working principle, construction and applications of Stroboscope | 27
10 | 28 | Digital frequency meters | 28 | All file are checked
| 29 | Phase sequence indicators | 29
| 30 | Assignment of fifth unit | 30
11 | 31 | Construction, working principle and application of the following instruments : Q-meter and Transistor tester | 31 | Use of LCR meter for measuring inductance, capacitance, Q-factor and resistance
| 32 | LCR Bridge | 32
| 33 | Function generator | 33
12 | 34 | Assignment of sixth unit | 34 | Measurement of voltage, frequency, time period, phase using CRO
| 35 | Construction and working of Cathode Ray Tube (CRT) | 35
| 36 | Block diagram, description of a basic CRO and triggered sweep oscilloscope, front panel controls. | 36
13 | 37 | Specifications of CRO and their explanation. | 37 | Measurement of voltage, frequency, time period, phase using digital CRO
| 38 | Measurement of voltage, current, frequency, time period and phase using CRO. | 38
| 39 | Digital storage oscilloscope (DSO): block diagram and working principle. | 39
14 | 40 | Assignment of seventh unit | 40 | All file are checked
| 41 | Revision of unit first and second | 41
| 42 | Revision of unit third | 42
15 | 43 | Revision of unit fourth and fifth | 43 | Viva voce
| 44 | Revision of unit sixth | 44
| 45 | Revision of unit seventh | 45

## BCS
lesson Plan
Name of the Faculty: Anil Kumar
Discipline:Instrumentation & Control
Semester:3rd
Subject: Basic Of Control System
Lesson Plan Duration : 15 weeks(from 7 Sept 2020 to 24 Dec 2020)
Work Load (lecture/practical)per week (in hours) : Lectures- 04, practical- 03
Week |  | Theory |  | Practicals
| Lecture Day | Topic (inculding assignment/test) | Practical week | Topic
1st | 1st | Brief introduction about subject and syllabus | 1 | Study of characteristic of servomotor
| 2nd | Basic elements of control system, open loop control system
| 3rd | closed loop control system, control system terminology
| 4th | revision
2nd | 5th | manually controlled closed loop systems | 2 | Characteristics and speed control of a stepper motor
| 6th | automatic controlled closed loop systems
| 7th | basic elements of a servo mechanism, Examples of automatic control systems
| 8th | revision
3rd | 9th | linear systems | 3 | To demonstrate the synchro characteristic and use a synchro pair as error detector
| 10th | non-linear systems, control system examples from chemical systems
| 11th | mechanical systems
| 12th | electrical systems
4th | 13st | introduction to laplace transform | 4 | File checking
| 14th | revision
| 15th | Class test
| 16th | Ac servomotor-Torque speed characteristics
5th | 17th | Dc servomotor-Torque speed characteristics | 5 | Query of experiment 1,2 & 3 and Repeat again
| 18th | Assignment discussion
| 19th | stepper motor-Variable Reluctance type
| 20th | Stepper motor-Permanent magnet motor type
6th | 21th | Potentiometer-Characteristics of Potentiometer | 6 | Measurement of speed control of motor with tachometric feed back
| 22th | Tachometer-AC and DC Tachometer
| 23th | Transfer function, block diagram
| 24th | revision
7th | 25th | reduction of block diagram | 7 | Study of a DC speed control system
| 26th | problems on block diagram
| 27th | Mason’s formula signal flow graph
| 28th | Standard test signals
8th | 29th | time response of first order system | 8 | Simulation of a position control system with PC
| 30th | revision
| 31st | time constant
| 32nd | time response of second order system
9th | 33rd | time response specifications | 9 | Study of ON-OFF controlle
| 34th | steady-state errors
| 35th | Revision
| 36th | class test
10th | 37th | error constants | 10 | File checking
| 38th | problems in first order system
| 39th | problems in second order system
| 40th | revision
11th | 41th | Stability | 11 | feedback from students
| 42th | Routh Hurwitz Criterion
| 43th | Root Locus
| 44th | Bode Plotting using semi log graph paper
12th | 45th | Bode Plotting using semi log graph paper | 12 | File checking
| 46th | Revision
| 47th | Assignment discussion
| 48th | viva voice
13th | 49th | class test | 13 | Viva voce
| 50th | Feedback from students
| 51st | revision
| 52nd | revision
14th | 53rd | Revision | 14 | Viva voce
| 54th | Assignment discussion
| 55th | viva voice
| 56th | class test
15th | 57th | revision | 15 | Viva voce
| 58th | revision
| 59th | revision
| 60th | revision

## EM
lesson Plan
Name of the Faculty : |  | Anil Kumar
Discipline : |  | Instrumentation and control
Semester |  | 3rd
Subject : |  | Electrical Machines
Lesson Plan Duration 15 weeks(from 7 Sept 2020 to 24 Dec 2020)
Work Load (lecture/practical)per week (in hours) : Lectures- 03, Practical- 02
Week |  | Theory |  | Practicals
| Lecture Day | Topic (inculding assignment/test) | Practical week | Topic
1st | 1st | Brief introduction about subject and syllabus | 1st | To measure power and power factors in 3 Phase load by two wattmeter method
| 2nd | Three Phase Supply Advantages of 3 phase system over single phase system
| 3rd | Star delta connections
2nd | 4th | revised previous topics | 2 | To determine the efficiency of a single phase transformer from the data obtained through open circuit and short circuit test
| 5th | Relation between phase voltage and line voltage, phase current and line current in a 3 phase system
| 6th | Power and power factor(p.f.) in 3 phase system and their measurements, importance of p.f. (simple problems)
3rd | 7th | feedback from students | 3 | To measure power and power factor of a single phase induction motor.
| 8th | revision
| 9th | Principle and construction of single phase transformer
4th | 10th | voltage regulation and its significance of transformer | 4 | To run a synchronous motor with a.c supply and to measure speed to verify the relation N=12O f/ P
| 11th | Losses in transformer
| 12th | Efficiency,condition for maximum efficiency and all day efficiency
5th | 13th | CT's (Current Transformers) | 5 | practicals revisions
| 14th | PT's(Potential Transformers)
| 15th | CVT(Constant Voltage Transformer) |  | viva voice of previous practicals
6th | 16th | Revision | 6 | To make connections of starting and running winding of a single phase capacitor motor and to run it with the help a DOL starter and to measure its speed
| 17th | Introduction to Rotating Electrical Machines
| 18th | EMF induced in a coil rotating in a magnetic field
7th | 19th | Basic principle of a generator and a motor | 7 | To connect a dc shunt motor with supply through 3 - phase starter and to run the motor at different speech with the help of a field regulator
| 20th | Torque due to alignment of two magnetic fields and the concept of Torque angle
| 21st | Basic Electromagnetic laws (Faraday’s laws of Electromagnetic Induction)
8th | 22nd | feedback from students | 8 | Study construction of a stepper and servomotor and to write their complete specifications.
| 23rd | Principle of working of d.c motors and d.c generator, their constructional details
| 24th | Function of the commutator for motoring and generating action
9th | 25th | Factors determining the speed of a DC motor | 9 | practicals revisions
| 26th | Different types of excitation
| 27th | Characteristics of Different types of DC machines |  | viva voice of previous practicals
10th | 28th | Starting of DC motors and starters | 10 | practicals revisions
| 29th | Application of DC machines
| 30th | revision |  | viva voce of previous practicals
11th | 31st | Class Test | 11 | All files are checked
| 32nd | Introduction to AC Motors |  | All files are checked
| 33rd | Revolving magnetic field produced by poly phase supply
12th | 34th | Brief introduction about three phase induction motors, its principle of operation | 12 | viva voce of previous practicals
| 35th | principle and working of Synchronous machines
| 36th | Application of Synchronous machines |  | viva voce of previous practicals
13th | 37th | Revision | 13 | viva voce of previous practicals
| 38th | introduction Single Phase Fractional Kilowatt Motors |  | viva voce of previous practicals
| 39th | principle of operation of single phase motors
14th | 40th | types of single phase induction motors and their constructional details | 14 | viva voce of previous practicals
| 41st | single phase Synchronous motors – reluctance motor ( hysteresis motor)
| 42nd | introduction to commutator type single-phase motors |  | viva voce of previous practicals
15th | 43rd | introduction to servo- motors and stepper motors | 15 | viva voce of previous practicals
| 44th | Concept of micro-motors.
| 45th | Copy checking |  | viva voce of previous practicals

## BI
lesson Plan
Name of the Faculty Shivani
Discipline Instrumentation and control
Semester 3rd
Subject BI
Lesson Plan Duration 15 weeks(from 7 sept 2020 to 24Dec 2020) |  | 15 weeks,from sept 2020 to dec 2020
Work Load (lecture/practical)per week (in hours) : Lectures- 03, practical- 02
Week |  | Theory |  | Practicals
| Lecture Day | Topic (inculding assignment/test) | Practical week | Topic
1st | 1st | unit 1: Brief introduction about subject and syllabus | 1 | To assemble seven segment display using LEDs
| 2nd | Basics of Instrumentation Systems - Scope and necessity of instruments
| 3rd | Measurement, its significance and types
2nd | 4th | Building blocks of instrumentation systems | 2 | To make fourteen segments display using LED/LCD and verify it
| 5th | Various testing signals
| 6th | Important process variables and their units
3rd | 7th | unit2: Performance Characteristics of Instruments | 3 | Make any word using LCD and LED
| 8th | Static characteristics of instruments-accuracy, precision, linearity
| 9th | resolution, sensitivity, hysteresis, drift, dead time, loading effects
4th | 10th | Test of previous topics | 4 | To study circular and strip chart recorder
| 11th | Dynamic inputs and dynamic characteristics-time constant, response time
| 12th | natural frequency, damping coefficient
5th | 13th | selection crietria of instruments | 5 | To use IC 741 (op-amplifier) as adder and subtractor
| 14th | calibration
| 15th | definition and importance of calibration
6th | 16th | test of previous topics | 6 | To use IC 741 (op-amplifier) as inverter and non inverter
| 17th | Revsion
| 18th | unit 3: Display and recording devices - working principle
7th | 19th | consruction of strip chart recorder | 7 | To use IC 741 (op-amplifier) as integrator and differentiator
| 20th | Merits and demerits of circular chart and strip chart recorder
| 21st | Basics of printing devices
8th | 22nd | Scanning, data logging and field buses | 8 | To make the DOT Matrix display and its verification
| 23rd | Revision
| 24th | class test 2
9th | 25th | LCD, Seven segment display | 9 | Make any word using LCD and LED
| 26th | X-Y recorder, scanning
| 27th | revision
10th | 28th | GPIB, RS-232C | 10 | viva voce of previous practiclas done so far
| 29th | unit 4: Errors - Calibration of instruments
| 30th | Sources of errors
11th | 31st | Classification of errors | 11 | To study circular and strip chart recorder
| 32nd | Grounding/earthing - Precautions
| 33rd | Assignment discussion/viva-voice
12th | 34th | class test 3 | 12 | All files are checked
| 35th | unit |  | All files are checked
| 36th | Revision |  | All files are checked
13th | 37th | unit5: operational amplifier | 13 | viva voce of previous practiclas done so far
| 38th | characteristics of an ideal operational amplifier
| 39th | IC- 741 and its pin configuration
14th | 40th | definition of differential voltage gain. | 14 | viva voce of previous practiclas done so far
| 41st | CMMR
| 42nd | PSSR
15th | 43rd | slew rate and input offset current | 15 | viva voce of previous practiclas done so far
| 44th | operational amplifier as an inverting mode
| 45th | subtractor, differentiator,adder,integrator,operational amplifier as an instrumental amplifier