## PC
lesson Plan
Name of the Faculty : Anil kumar
Discipline :Instrumentation and control | : Instrumentation and control
Semester : 5th
Subject : Process control | :
Lesson Plan Duration : 15 weeks(from 7 Sept 2020 to 24 Dec 2020)
Work Load (lecture/practical)per week (in hours) : Lectures- 04, practical- 03
Week |  | Theory |  | Practicals
| Lecture Day | Topic (inculding assignment/test) | Practical week | Topic
1st | 1st | Brief introduction about subject and syllabus | 1 | To find the differential gap of on-off control system
| 2nd | Basic Control Loops and Characteristics
| 3rd | Basics of process control, process variables
| 4th | Single loop temperature control system
2nd | 5th | Single loop pressure control system | 2 | To rig up an electronic PID controller and verify its working
| 6th | previous topics discussion
| 7th | flow loop control systems. Process lag, measurement lag
| 8th | transmission lag and dead time
| 8th | revision
3rd | 9th | feedback of 1st chapter | 3 | To rig up an electronic proportional controller unit
| 10th | Copy Checking
| 11th | Basic Controller Modes and Characteristics of controllers
| 12th | Concept of on-off control
4th | 13th | advantages and disadvantages of controllers | 4 | To rig up an electronic proportional integrated controller unit
| 14th | Proportional controller
| 15th | Integral controller
| 16th | Derivative action of controller
5th | 17th | PI controller | 5 | To study the characteristics and controller specifications of different types of control valves and their repair and maintenance
| 18th | PD controller
| 19th | PID controller
| 20th | Examples of different controllers
6th | 21st | merits and demerits of controllers | 6 | To study and obtain the input/output relationship of a pneumatic relay
| 22nd | revision
| 23rd | class test
| 24th | Introduction to Control Elements
7th | 25th | Construction, principle of operation and applications of limit switches | 7 | To determine the characteristics of a control valve with positioner and without positioner
| 26th | Construction, principle of operation and applications of auto transformer
| 27th | Construction, principle of operation and applications of magnetic amplifier
| 28th | Construction, principle of operation and applications of Electric Actuators
8th | 29th | Pneumatic control elements: pneumatic pressure supply,, | 8 | To study a control loop of tank level control using on-off control
| 30th | pneumatic actuator
| 31st | pneumatic relay
| 32nd | Flapper Nozzle system as control element
9th | 33rd | Hydraulic control elements: hydraulic actuators | 9 | To study the control loop of a system for a flow contro
| 34th | Hydraulic valves
| 35th | I/P Converter and P/I Converter
| 36th | Comparison between Pneumatic and Hydraulic control systems
10th | 37th | Introduction to Control Valves | 10 | To study the control loop of a system for pressure control
| 38th | Principle of operation & constructional details of Diaphragm operated valve
| 39th | Applications of Diaphragm operated valve
| 40th | Principle of operation & constructional details of Globe valve
11th | 41st | Applications of Globe valve | 11 | To study the construction and working of a pressure switch
| 42nd | Principle of operation & constructional details of Ball valve
| 43rd | Applications of Ball valve
| 44th | Principle of operation & constructional details of Butterfly valve
12th | 45th | Applications of Butterfly valve | 12 | To study the construction and working of a temperature switch
| 46th | Principle of operation & constructional details of Solenoid Valve
| 47th | Applications of Solenoid Valve
| 48th | Assignment discussion
13th | 49th | Switches | 13 | To study the construction and working of a float type of level switch
| 50th | Temperature switches
| 51st | Flow switches
| 52nd | Pressure switches
14th | 53rd | Interlocking and Sequencing Circuit | 14 | viva voce
| 54th | revision |  | viva voce
| 55th | Copy Checking |  | viva voce
| 56th | Class test
15th | 57th | revision | 15 | viva voce
| 58th | revision |  | viva voce
| 59th | revision |  | viva voce
| 60th | revision

## PI
lesson Plan
Name of Faculty : Vivek Gandhi
Discipline : I&C
Semester : 5th sem
Subject : | PI
Lesson Plan Duration : 15 weeks(from 7 Sept 2020 to 24 Dec 2020)
Work Load (lecture/practical)per week (in hours) : Lectures- 03, practical- 03 |  | Lecture-4, Practical-3)
Week | Theory |  | Practical
| Lecture Day | Topic(including assignment/test) | Practical week | Practical Topic
1 | 1 | Define following process variables along with their importance and measuring units | 1 | Measurements of flow using Rotameters
| 2 | Temperature, Pressure
| 3 | Level, Flow
| 4 | Construction, working principle, applications, advantages & disadvantages of the following | 2 | Measurement of flow using Venturi tube and U-tube manometer
2 | 5 | Thermocouples , Thermistors , Radiation pyromet
| 6 | IR detectors ,Fiber Optic Thermometer
| 7 | Pressure Measurements ( Construction, working principle, applications, advantages & disadvantages of the following) | 3 | Measurement of Level using capacitive method
| 8 | Pressure Measurements using Manometers (U, Well and Inclined)
3 | 9 | Pressure Measurements using elastic elements (Bourdon, Bellow, Diaphragm)
| 10 | Low Pressure Measurements using (Thermocouple, Pirani, Ionization, Mc Leod, kundsan gauges | 4 | Measurement of Level using resistive method
| 11 | Flow Measurements ( Construction, working principle, applications, advantages & disadvantages of the following)
| 12 | Variable flow meter (Venturimeter and Orifice) ,Rotameters
4 | 13 | Electromagnetic flow meter | 5 | Measurement of Pressure using U-tube manometer
| 14 | Hot Wire Anemometers
| 15 | First sessional test
| 16 | Turbine Flow Meters, Ultrasonic Flow Meters | 6 | Measurement of Pressure using Bourdon tube
5 | 17 | Level Measurements ( Construction, working principle, applications, advantages & disadvantages of the following)
| 18 | Level Measurements using Sight glass ,Level Measurements using Pressure Transducers (Two Scheme only)
| 19 | Level Measurements using Buoyancy Method (Two Scheme only) | 7 | Measurement of Temperature using IR detector
| 20 | Level Measurements using Electrical (Resistive, Inductive and Capacitive) method
6 | 21 | Assignment 1
| 22 | Level Measurements using Gamma Rays | 8 | Level Measurements using Ultrasonic Method
| 23 | Level Measurements using Ultrasonic Method
| 24 | 2nd sessional test revision
7 | 25 | 2nd sessional test | 9 | VIVA - VOCE
| 26 | Revision
| 27 | Revision
| 28 | Assignment 2 | 10 | All files are checked
8 | 29 | All notebooks are checked
| 30 | Revision
| 31 | Revision | 11 | VIVA - VOCE
| 32 | Revision
9 | 33 | Revision
| 34 | Assignment 3 | 12 | VIVA - VOICE
| 35 | Revision
| 36 | Revision
10 | 37 | Revision | 13 | VIVA - VOCE
| 38 | Revision
| 39 | Revision
| 40 | Revision | 14 | VIVA-VOCE
11 | 41 | 3rd sessional test revision
| 42 | 3rd sessional test revision
| 43 | 3rd sessional test | 15 | All files are checked
| 44 | Revision
| 45 | Revision

## PE
lesson Plan
Name of Faculty : Vivek Gandhi
Discipline : I&C
Semester : 5th sem
Subject : PE
Lesson Plan Duration : 15 weeks(from 7 Sept 2020 to 24 Dec 2020)
Work Load (lecture/practical)per week (in hours) : Lectures- 03, practical- 03
Week | Theory |  | Practical
| Lecture Day | Topic(including assignment/test) | Practical week | Practical Topic
1 | 1(unit 1) | Construction, Working principle of SCR | 1 | To plot VI characteristic of an SCR.
| 2 | Two transistor analogy of SCR, V-I characteristics of SCR.
| 3 | SCR specifications and ratings.
2 | 4 | Different methods of SCR triggering. | 2 | To plot VI characteristics of TRIAC
| 5 | Different commutation circuits for SCR.
| 6 | Series and parallel operation of SCR.
3 | 7 | Construction and working principle of DIAC, TRIAC and their V-I characteristics | 3 | To plot VI characteristics of UJT.
| 8 | Construction, working principle of UJT, V-I characteristics of UJT. UJT as relaxation oscillator
| 9 | Brief introduction to Gate Turn off thyristor (GTO), Programmable Uni-junction Transistor (PUT), MOSFET
4 | 10 | Basic idea about the selection of Heat sink for thyristors | 4 | To plot VI characteristics of DIAC.
| 11 | Applications such as light intensity control, speed control of universal motors
| 12 | Fan regulator, battery charger.
5 | 13(unit 2) | Single phase half wave controlled rectifier with load (R, R-L) | 5 | Study of UJT relaxation oscillator. And observe I/P and O/P wave forms
| 14 | Single phase half controlled full wave rectifierwith load(R, R-L)
| 15 | First sessional test
6 | 16 | Fully controlled full wave bridge rectifier. | 6 | Observation of wave shape of voltage at relevant point of single-phase half wave controlled rectifier and effect of change of firing angle
| 17 | Single phase full wave centre tap rectifier.
| 18(unit 3) | Principle of operation of basic inverter circuits, concepts of duty cycle, series and parallel. Inverters & their applications
7 | 19 | Choppers: Introduction, types of choppers (Class A, Class B, Class C and Class D). | 7 | Observation of wave shapes of voltage at relevant point of single phase full wave controlled rectifier and effect of change of firing angle.
| 20 | Step up and step down choppers
| 21 | Assignment 1
8 | 22 | Dual Converters and cyclo converters: Introduction, types and basic working principle of dual converters | 8 | Observation of wave shapes and measurement of voltage at relevant points in TRIAC based AC phase control circuit
| 23 | Cyclo converters and their applications.
| 24 | 2nd sessional test revision
9 | 25 | 2nd sessional test | 9 | VIVA - VOCE
| 26(unit 4) | DC drive control, Half wave drives
| 27 | Full wave drives
10 | 28 | Assignment 2 | 10 | All files are checked
| 29 | All notebooks are checked
| 30 | Chopper drives (Speed control of DC motor using choppers)
11 | 31 | AC drive control, Phase control | 11 | Varying lamp intensity and AC fan speed control.
| 32 | Constant V/F operation
| 33 | Cycloconverter/Inverter CKT's
12 | 34 | Assignment 3 | 12 | Installation of UPS system and routine maintenance of batteries.
| 35 | AC/DC drive control application in automobile
| 36(unit 5) | ON line UPS
13 | 37 | OFF line UPS | 13 | Speed control of motor using SCRs
| 38 | Specifications of UPS
| 39 | Concept of high voltage DC transmission
14 | 40 | Conceptof SMPS | 14 | VIVA-VOCE
| 41 | 3rd sessional test revision
| 42 | 3rd sessional test revision
15 | 43 | 3rd sessional test | 15 | All files are checked
| 44 | Revision
| 45 | Revision

## AEI
Name of the Faculty: Shivani
Discipline : Instrumentation and Control
Semester : 5th
Subject : Analytical and Environmental instrumentation
Lesson Plan Duration : 7 September - 24 December 2020
Week | Theory |  | Practical
| Lecture Day | Topic | Practical Day | Practical Topic
1 | 1 | Fundamental blocks of analytical instruments. | 1 | To find conductivity of a given solution
| 2 | Absorption spectroscopy | 2
| 3 | Revision of Syllabus Covered | 3
| 4 | Class Test
2 | 5 | NMR spectroscopy | 4 | To measure the total dissolved solutions in water
| 6 | Mass spectroscopy | 5
| 7 | Fundamental blocks of analytical instruments. | 6
| 8 | Revision of Syllabus Covered
3 | 9 | Assignment of second unit | 7 | All files are checked
| 10 | Infra-red gas analyzer | 8
| 11 | Revision of Syllabus Covered | 9 | Viva voce
| 12 | Class test
4 | 13 | Paramagnetic oxygen analyzers | 10 | To Measure oxygen content dissolved in water
| 14 | Thermal conductivity analysis | 11
| 15 | Mass spectroscopy | 12
| 16 | Revision of Syllabus Covered
5 | 17 | Assignment of third unit | 13 | All files are checked
| 18 | Introduction of Gas Chromatography | 14
| 19 | Revision of Syllabus Covered | 15 | Viva voce
| 20 | Class Test
6 | 21 | Instruments used in Gas Chromatography : injectors, oven | 16 | Demonstration of mass spectrometer
| 22 | Instruments used in Gas Chromatography : column and detectors | 17
| 23 | Infra-red gas analyzer | 18
| 24 | Revision of Syllabus Covered
7 | 25 | Assignment of fourth unit | 19 | Demonstration of Gas chromatography
| 26 | Principle of pH measurement | 20
| 27 | Revision of Syllabus Covered | 21
| 28 | Class Test
8 | 29 | Electrodes used for pH measurement | 22 | All files are checked
| 30 | Electro chemical analyzer | 23
| 31 | Introduction of Gas Chromatography | 24 | Viva voce
| 32 | Class Test
9 | 33 | Assignment of fifth unit | 25 | To measue noise level
| 34 | IOT based air and water quality monitoring system | 26
| 35 | Mass spectroscopy | 27
| 36 | Principle of pH measurement
10 | 37 | IOT based gas and noise quality monitoring system | 28 | To measure spectrometer
| 38 | Arduino based air and water quality monitoring system | 29
| 39 | Instruments used in Gas Chromatography : column and detectors | 30
| 40 | Revision of Syllabus Covered
11 | 41 | Arduino based gas and noise quality monitoring system | 31 | All files are checked
| 42 | Assignment of sixth unit | 32
| 43 | Revision of Syllabus Covered | 33
| 44 | Class Test
12 | 45 | Electro chemical cell | 34 | Monitoring of air, water, gas and noise quality using arduino
| 46 | Types of electrodes | 35
| 47 | Revision of Syllabus Covered | 36
| 48 | Arduino based air and water quality monitoring system
13 | 49 | Conductivity meters | 37 | All files are checked
| 50 | Assignment of seventh unit | 38
| 51 | Revision of Syllabus Covered | 39
| 52 | Class Test
14 | 53 | Instrumentation used for water pollution and their monitoring | 40 | Viva voce
| 54 | Instrumentation used for noise pollution and their monitoring | 41
| 55 | Conductivity meters | 42
| 56 | Assignment of eighth unit
15 | 57 | Revision of Syllabus Covered | 43 | Viva voce
| 58 | Revision of Syllabus Covered | 44
| 59 | Revision of Syllabus Covered | 45
| 60 | Revision of Syllabus Covered