## Slide 1: 3-Phase Transformer Construction, Principal, Working, Operation Advantages Over 1-Phase Transformer
Introduction
Advatages
Construction
Principal
Working

## Slide 2: Introduction
The generation of an electrical power is usually three phase and at higher voltages like 13.2 KV, 22 KV or some what higher, Similarly transmission of an electrical power is also at very high voltages like 110 KV, 132 KV, 400 KV. To step up the generated voltages for transmission purposes it is necessary to have three phase transformers.

## Slide 3: Advantages
Less space
Weight Less
Cost is Less
Transported easily
Core will be smaller size
More efficient
Structure, switchgear and installation of single three phase unit is simpler

## Slide 4: Principal of Operation

## Slide 5
The three cores are arrange at 120° from each other. Only primary windings are shown on the cores for simplicity.
The primaries are connected to the three phase supply.
The three fluxes is also zero at any instant.

## Slide 6
Hence the centre leg does not carry any flux.
So if centre leg is removed, any two legs provide the return path for the current and hence the flux in the third leg.
This is the general principal used in the design of three phase core type transformers.

## Slide 7: Three Phase Transformer Connection
The primary and secondary winding of three phase transformers as three phase winding can be connected in different ways such as in star or in delta. With suitable connection the voltage can be raised or lowered.
In this section some commonly used connections for three phase transformers are discussed.

## Slide 8
Star-Star connection
Delta-Delta connection
Star-Delta connection
Delta-Star connection
Open Delta or V connection
Scott connection or T-T connection

## Slide 12: Parallel Operation of Three Phase Transformer
The transformers are connected in parallel when load on one of the transformers is more then it capacity
The reliability is increased with parallel operation than to have single larger unit.

## Slide 13
The Transformers connected in parallel must have same polarity so that the resultant voltage around the local loop is zero. With improper polarities there are chances of dead short circuit.
The relative phase displacements on the secondary sides of the three phase transformers to be connected in parallel must be zero. The transformers with same phase group can be connected in parallel

## Slide 14
As the phase shift between the secondary voltages of a star/delta and delta/star transformers is 30°, They cannot be connected in parallel.
But transformers with +30° and -30° phase shift can be connected in parallel by reversing phase sequence of one of them

## Slide 15
The voltage ratio of the two transformers must be same. This prevents no load circulating current when the transformers are in parallel on primary and secondary sides.
As the leakage impedance is less, with a small voltage difference no load circulating current is high resulting in large I2R losses.