| Name of the Faculty : Sh. Sanjay Kumar |  |  |  |
| --- | --- | --- | --- |
| Discipline : Electronics and Communication Engg. |  |  |  |
| Semester : IIIrd |  |  |  |
| Subject : Electronics Instruments and Measurement |  |  |  |
| Lesson Plan Duration : September-Januarary 2023 |  |  |  |
| Work Load (Lecture/ Practical) per week (in hours): 03 Hours (Lecture) |  |  |  |
| Week | Theory |  | Practical |
|  | Lecture day | Topic (including assignment/ test) | Topic |
| 1st | 1 | Introduction about subject. | Introduction about instruments to be used in practical work. |
|  | 2 | Definition of measurement and methods of measurement. |  |
|  | 3 | Types of instruments, Specifications of instruments: Accuracy, precision, sensitivity, resolution, range. |  |
| 2nd | 4 | Errors in measurement, Sources of errors. | Measurement of voltage, resistance, frequency using digital multimeter. |
|  | 5 | Limiting errors, Loading effect, Importance and applications of standards and calibration. |  |
|  | 6 | Revision of last completed unit. |  |
| 3rd | 7 | Principles of measurement of DC voltage, DC current. | Measurement of voltage,frequency, time period and phase using CRO. |
|  | 8 | Principles of measurement of AC voltage, AC current. |  |
|  | 9 | Principles of operation and construction of permanent magnet moving coil (PMMC) instruments. |  |
| 4th | 10 | Principles of operation and construction of Moving iron type instruments and class assignment. | Viva of Performed Practical. |
|  | 11 | Revision of last completed unit. |  |
|  | 12 | Class test of completed unit. |  |
| 5th | 13 | 1st Sessional Test. | Measurement of voltage, frequency, time and phase using DSO. |
|  | 14 | Construction and working of Cathode Ray Tube (CRT). |  |
|  | 15 | Block diagram description of a basic CRO. |  |
| 6th | 16 | Block diagram description of triggered sweep oscilloscope. | Measurement of Q of a coil. |
|  | 17 | Description of front panel controls of CRO. |  |
|  | 18 | Specifications of CRO and their explanation. |  |
| 7th | 19 | Measurement of current, voltage, frequency, time period and phase using CRO. | Measurement of resistance and inductance of coil using RLC Bridge. |
|  | 20 | Digital storage oscilloscope (DSO) : block diagram and working principle. |  |
|  | 21 | Revision of last completed unit and class assignment. |  |
| 8th | 22 | Description of bridge and difference b/w AC and DC bridge. | Viva of Performed Practical. |
|  | 23 | DC bridges: Wheat stone bridge. |  |
|  | 24 | AC bridges: Maxwell’s induction bridge. |  |
| 9th | 25 | Hay’s bridge, De-Sauty’s bridge. | Measurement of impedance using Maxwell Induction Bridge. |
|  | 26 | Schering bridge and Anderson bridge. |  |
|  | 27 | Bock diagram description of laboratory type RLC bridge, specifications of RLC bridge. |  |
| 10th | 28 | Block diagram and workig principle of Q meter. | To find the value of unknown resistance using Wheat Stone Bridge. |
|  | 29 | Revision of last completed unit. |  |
|  | 30 | 2nd Sessional Test. |  |
| 11th | 31 | Introduction about signal generator and its basic requirements. | Viva of Performed Practical. |
|  | 32 | Explanation of block diagram specifications of low frequency signal generator. |  |
|  | 33 | Explanation of block diagram specifications of RF generators. |  |
| 12th | 34 | Explanation of block diagram specifications of pulse generator, function generator. | Measurement of distortion using Distortion Factor Meter. |
|  | 35 | Explanation of block diagram of distortion factor meter. |  |
|  | 36 | Explanation of block diagram of Instrumentation amplifier: its characteristics, need and working. |  |
| 13th | 37 | Revision of last completed unit and problem solution. | Use of logic pulser and logic pobe. |
|  | 38 | Comparison of analog and digital instruments. |  |
|  | 39 | Working principle of ramp and dual slope type digital voltmeter. |  |
| 14th | 40 | Working principle of integration type digital voltmeter and class assignment. | Viva of Performed Practical. |
|  | 41 | Block diagram and working of a digital multi-meter, Specifications of digital multi-meter and their applications, Limitations of digital multi-meters. |  |
|  | 42 | Working principle of logic probe, logic pulser. |  |
| 15th | 43 | Working principle of logic analyzer and signature analyzer. | Final Internal Viva of all Practical. |
|  | 44 | Revision of last completed unit. |  |
|  | 45 | 3rd Sessional Test. |  |