| LESSON PLAN |  |  |
| --- | --- | --- |
| NAMEOFFACULTY | MR. Rajpal |  |
| DISCIPLINE | Electrical Engineering |  |
| SEMESTER | 5th |  |
| SUBJECT | Solar Panel Installation & Maintenance |  |
| LESSONPL AND DURATION | 15 week |  |
| WORKLOAD ( LECTURE) | THEORY-03 |  |
| WEEK | THEORY |  |
|  | LECTUREDAY |  |
| 1st |  | Photo Voltaic Effect, PV Cell, PV panel |
|  |  | PV module, PV array, Photovoltaic I-V charactristics |
|  |  | Conversion Efficiency. Selection of site, Site assessment tool |
| 2nd |  | Site location, climate condition, Solar irradiance, Sun angle |
|  |  | PV orientation, shading Analysis |
|  |  | Tilt angle and its significance in solar panel orientation |
| 3rd |  | Series and parallel Connection of PV |
|  |  | Charge Controller Function and its types. |
|  |  | Inverter Function and Power rating |
| 4th |  | Battery parameters, battery Bank |
|  |  | Types of batteries used in solar system |
|  |  | Roof mounted PV structure |
| 5th |  | Ground mounted PV structures |
|  |  | Disconnecting switches, Wires and cables |
|  |  | Combiner boxes, net meter |
| 6th |  | Protection devices,earthing and grounding |
|  |  | Solar tracking system. |
|  |  | Revision and assignment |
| 7th |  | PV installation hand tools, Wire strippers, crimping tools, |
|  |  | bolts, nuts, washers, Levelling tools, ground anchors, multimeter |
|  |  | Clmp on meter, non contact thermometer angle finder |
| 8th |  | Standalone PV system, |
|  |  | On grid PV system, Off grid PV system |
|  |  | Hybrid PV system, |
| 9th |  | Comparison of different PV systems |
|  |  | Calculation of load, size of solar panel, |
|  |  | Selection of Inverter, |
|  |  | size of charge controller, |
| 10th |  | cable sizing, Battery sizing |
|  |  | Components of PV system |
|  |  | Revision of chapter-3. |
| 11th |  | Operating Hazardous Tools and Equipments, |
|  |  | Personal protective equipment |
|  |  | Fall protection equipments and tools |
| 12th |  | Battery safety and measures |
|  |  | Marking and labeling of PV components |
|  |  | Revision of unit-4 |
| 13th |  | Maintenance of Solar PV system |
|  |  | Maintenance of Battery and Solar charge controller |
|  |  | Inverter maintenance, wiring and connections |
| 14th |  | Installation of Solar PV system |
|  |  | Installation of components of PV system |
|  |  | Troubleshooting of PV system and Solar charge controller |
|  |  | Revision of Short Answer type question Unit-1 |
| 15th |  | Revision of Short Answer type question Unit-2 |
|  |  | Revision of Short Answer type question Unit-3 |
|  |  | Revision of Short Answer type question Unit-4 |
|  |  | Revision of Short Answer type question Unit-5 |