## lesson plan of Power-1
G.B.N GOVT. POLYTECHNIC, Nilokheri
Electrical Engineering Department
Lesson plan
Name of Faculty |  |  |  | Sh.Harish Sharma, Sh. Rajesh Kamboj
Discipline |  |  |  | Electrical Engineering
Semester |  |  |  | 5th
Subject |  |  |  | Electrical Power- I
Lesson Plan Duration |  |  |  | 15weeks(w.e.f.September 2020 toDecember 2020)
Work load (Theory + Practical ) 04 (T+P)Per Week
| Week | Day | Topics
1st |  | 1 | Unit1:introduction to Power Generation
|  | 2 | Main resources of energy, conventional and non-conventional
|  | 3 | Different types of power stations, thermal power plant
|  | 4 | Hydro Power plant Flow diagrams and operation
2nd |  | 1 | Gas power plant Flow diagrams and operation
|  | 2 | diesel power station Flow diagrams and operation
|  | 3 | nuclear power Plant Flow diagrams and operation
|  | 4 | comparison of the generating stations on the basis of running cost, site, starting, maintenance
3rd |  | 1 | Revision/Assignment/ Class Test
|  | 2 | Unit2: Introduction to Economics of Generation
|  | 3 | Fixed and running cost, load estimation, load curves
|  | 4 | Demand factor, load factor, diversity factor
4th |  | 1 | Power factor and their effect on cost of generation
|  | 2 | Simple problems based on above relations
|  | 3 | Revision/Assignment/ Class Test
|  | 4 | Base load and peak load power stations
5th |  | 1 | inter-connection of power stations and its advantages
|  | 2 | Concept of regional and national grid
|  | 3 | Revision/Assignment/ Class Test
|  | 4 | Revision/Assignment/ Class Test
6th |  | 1 | Unit3: Introduction to Transmission Systems
|  | 2 | Layout of transmission system, selection of voltage for H.T and L.T lines
|  | 3 | advantages of high voltage for Transmission of power in both AC and
|  | 4 | Comparison of different systems: AC versus DC for power transmission,
7th |  | 1 | material and sizes from standard tables
|  | 2 | Constructional features of transmission lines
|  | 3 | Types of supports
|  | 4 | Types of insulators
8th |  | 1 | Types of conductors, Selection of insulators
|  | 2 | conductors, earth wire and their accessories
|  | 3 | Transposition of conductors and string efficiency of suspension type
insulators, Bundle Conductors
|  | 4 | Mechanical features of line
9th |  | 1 | Importance of sag, calculation of sag,
|  | 2 | Effects of wind and ice related problems
|  | 3 | Indian electricity rules pertaining to clearance
|  | 4 | Electrical features of line: Calculation of resistance, inductance and capacitance
10th |  | 1 | A.C. transmission line, voltage regulation, and concept of corona.
Effects of corona and remedial measures
|  | 2 | Transmission Losses
|  | 3 | Revision/Assignment/ Class Test
|  | 4 | Revision/Assignment/ Class Test
11th |  | 1 | Unit 4: Distribution System Layout of HT and LT distribution system
|  | 2 | constructional feature of distribution lines and their erection
|  | 3 | LT feeders and service mains
|  | 4 | Simple problems on AC radial distribution system
12th |  | 1 | Determination of size of conductor
|  | 2 | Preparation of estimates of HT and LT lines
|  | 3 | Constructional features of LT (400 V), HT (II kV) underground cables
|  | 4 | Advantages and disadvantages of underground system with respect to overhead system.
13th |  | 1 | Calculation of losses in distribution system
|  | 2 | Faults in underground cables-determine fault location by
|  | 3 | Murray Loop Test, Varley Loop Test
|  | 4 | Revision/Assignment/ Class Test
14th |  | 1 | Unit 5: Substations: Brief idea about substations
|  | 2 | Outdoor grid sub-station 220/132 KV, 66/33 KV outdoor
|  | 3 | Pole mounted substations and indoor substation
|  | 4 | layout of 33/11/400V distribution substation and various auxiliaries
15th |  | 1 | Unit 6: power factor, reasons and disadvantages of low power factor
|  | 2 | Method of the improvement of power factor by using Capacitor bank, Synchronus condensor,phase advanser ,VAR static compensator
|  | 3 | Revision/Assignment/ Class Test
|  | 4 | Review of old question papaers